Training document for the company-wide

automation solution

Totally Integrated Automation (T I A)

MODULE D2

AS- Interface / integration of a LOGO! 12/24RC logic module and AS-I interface module

This document was provided by Siemens A&D SCE (automation and drive technology, Siemens A&D Cooperates with Education) for training purposes.  Siemens does not make any type of guarantee regarding its contents.

The passing on or duplication of this document, including the use and report of its contents, is only permitted within public and training facilities.

Exceptions require written permission by Siemens A&D SCE (Mr. Knust:  E-Mail:  michael.knust@hvr.siemens.de).  Offences are subject to possible payment for damages caused.  All rights are reserved for translation and any case of patenting or GM entry.

We thank the company Michael Dziallas Engineering and the instructors of vocational schools as well as further persons for the support with the production of the document.

PAGE:

1.	Forward		5

2.	Notes for the Operation of LOGO! Logic Modules		7

3.	The First Steps with LOGO!		8

3.1	Terminals		8

3.2	Terminals from LOGO!		8

3.3	LOGO! knows the following terminals		9

3.4	Blocks and block numbers		9

3.5	Blocks		9

3.6	Logical operations		9

3.7	Block representation in display from LOGO!		10

3.8	Assignment of a block number		10

3.9	The 4 golden rules for the servicing of LOGO!		11

3.10	Overview of the menus from LOGO!		12

4.	Example Exercise Sliding Gate Control		13

4.1	Requirements for the gate control 		13

4.2	Wiring of the gate control with LOGO! 12/24RC		14

4.3	Used components		14

4.4	Central drive and monitoring of more industrial gates		15

4.5	Layered control over the AS-Interface		15

4.6	Function block diagram of the LOGO! solution		16

5.	Program input in LOGO!		17

5.1	Changing into the programming operation mode 		17

5.2	LOGO! changes in the program menu		17

5.3	Program entering		18

5.4	Parameterizing of a block		19

5.5	LOGO! switched into RUN 		22

PAGE:

6.	Programming of the SIMATIC S7-300		23

6.1	New project generation		23

6.2	Hardware configuration entering		25

6.3	Driving the sliding gate over the AS-Interface		26

6.4	Control program for the driving of the sliding gate		27

6.5	Entering organizational block OB1 		28

The following symbols stand for the specified modules:

Information

Programming

Example exercise

Notes

1.	Forward

The module D2 is assigned content wise to Industrial field bus systems..

Basics of

STEP 7- Programming

2 - 3 days     A modules

Industrial field bus

systems

2- 3 days D modules

Additional functions of

STEP 7- Programming

2- 3 days    B modules

Process

visualization

2- 3 days F modules

Sequencer

Programming

2- 3 days C modules

IT- Communication

with SIMATIC S7

1- 2 days E modules

Learning goal:

In this module, the reader should learn the basic functions of the LOGO! logic module 24RCLB11 with integrated interface for the AS-Interface.

Typical task positions are executed by a pattern machine and an example project is processed in the following steps:

	Generation of a program for the LOGO! 12/24RC logic module

	Debugging of task position in RUN mode of LOGO!

	Generation of a project for a PLC SIMATIC S7-300

	Integration of ASi information from the LOGO! 12/24RC logic module in the control program of the SIMATIC S7-300CPU

	Debugging of the task position with a PLC SIMATIC S7- 300 and the LOGO! 12/24RC

Requirements:

For the successful use of this module, the following knowledge is assumed:

	Knowledge in the use of Windows 95/98/2000/ME/NT4.0

	Basics of PLC- Programming with STEP 7 (e.g. Module A3 - ‘Startup’

PLC programming with STEP 7)

	Commissioning of the AS-Interface with SIMATIC S7-300 (e.g. Module D1 – AS- Interface with 	the SIMATIC S7-300 and the CP342-2)

Required hardware and software

1	PC, Operating system Windows 95/98/2000/ME/NT4.0 with

- Minimal: 133MHz and 64MB RAM, approx. 150 MB free hard disk space

- Optimal: 500MHz and 128MB RAM, approx. 150 MB free hard disk space

2	Software STEP 7 V 5.x

3	LOGO! 12/24RC logic module

4	MPI- Interface for the PC (e.g. PC- Adapter)

5	PLC SIMATIC S7-300

Example configuration:

- Power supply: PS 307 2A

- CPU: CPU 314

- Digital inputs: DI 16x DC24V

- Digital outputs: DO 16x DC24V / 0.5 A

- CP 342-2 AS-Interface

- AS-Interface power supply 30V

- AS-Interface yellow data cable

1 PC

2 STEP 7

4 PC Adapter

7 AS-Interface data cable

3 LOGO! 24RCLB11

6 AS-Interface

power supply 30V

5 SIMATIC S7-300 with CP342-2

2.	Notes for the operation of LOGO! Logic modules

LOGO! is the universal logic module from Siemens.

In LOGO!, the control is integrated with service- and display units.

With the service- and display units from LOGO!, you can generate programs and edit and execute system functions.

External programs over an interface from a program module or over a PC cable can be read from the programmed software LOGO!-SOFT.  In addition to programming software, you can also execute a simulation of your circuit by the computer or print out overview plans.

Finished practical use basic functions (e.g. for time-delay on switch, time-delay off switch and current surge relay, time switch, binary memory bit, such as in- and outputs for device type) are already contained in the LOGO! logic module.

You solve tasks with LOGO! :

- 	In the house- and installation technology (e.g. house stairway lighting, outside lights, marquees, shutters, shop window lighting etc.),

- 	in an electrical panel builder and in machines- and apparatus constructions  (e.g. gate controls, ventilation systems, industrial water pumps, etc.).

Furthermore LOGO! can be set for special control to signal preprocessing.  Through the Asi-Variant, the application as a distributed peripheral is possible with separate intelligence from location for the controlling of machines and processors.  Through this, control tasks can be accomplished in the LOGO! logic module in order to release the master control.

There are special variants without service units for serial uses in small machines and apparatus constructions, in an electrical panel builder and installation range.  These must be downloaded over a program module or over the PC software LOGO-SOFT.

3.	the first steps with logo!

We indicate the inputs of a circuit with programming.  A LOGO! program is not really any different from a circuit diagram besides the way that it is represented.  We customized  the representation from the display field from LOGO!.  In this chapter, we introduce to you how you convert your applications into LOGO! programs with LOGO!.

Next we introduce to you the 2 fundamental terms terminal and block and show you what is contained behind them.

In a second step, we develop a program together from a simple, conventional circuit that you can enter directly into LOGO! in the third step. After reading a few pages from the handbook, your first program will be stored execution capable in LOGO!.  With the proper hardware (circuit...) you can already execute the first tests.

3.1	Terminals

LOGO! contains inputs and outputs:

The inputs are identified with the letter I and a target.  When you look at LOGO! from the front, you see the terminals for the inputs on top.  The outputs are identified with a Q and a target.  The terminals of the outputs can be seen on the bottom of the picture.

3.2	Terminal from LOGO!

We identify all connections and states that are found in LOGO! applications.  The in- and outputs can contain the state ‘0‘ or ‘1‘.  State ‘0‘ means that no voltage is applied to the inputs.  State ‘1‘ means that voltage is applied.  This information should be nothing new to you.  We have imported the terminals hi, lo and x in order to lighten the program input for you.  ‘high‘ (high) is the state ‘1‘ and ‘low‘ (low) is the state ‘0‘.  When you do not want to activate an input of a block, then use the terminal ‘x‘.  You will learn about what a block is on the next page.

Note

In- and outputs that are available by LOGO!...B11 over the AS-Interface bus connection are not direct physical inputs to LOGO!.  Please note that the bus master appoints the in –and output devices to the AS-Interface.

3.3	LOGO! Knows the Following Terminals

3.4	Blocks and Block Numbers

In this chapter we introduce to you how you can generate extensive circuits with the elements of LOGO! and how the blocks are operated with one another and with the in- and outputs.

3.5	Blocks

A block in LOGO! is a function which converts the input information into output information.  Earlier you must have wired the individual elements in the electrical panel or junction box.  By the programming you connect terminals with blocks.  Therefore you simply choose from the menu Co the desired connection.  The menu Co is named after the english term connector (terminal).

3.6	Logical Operations

The simplest blocks are logical operations (e.g. AND, OR).

Here are the inputs I1 and I2 connected to the OR-block.

The last input of the block is not used so it is set with x.

The other special functions are just as effective (e.g. current surge relays, counters, timers)

3.7	Block Representation in the Display from LOGO!

In the picture we show you a typical display Display from LOGO!. It is always only a block representation.  Therefore we imported the block numbers that should help you to control the circuit relation.

3.8	Assignment of a Block Number

Whenever you insert a block into a program, LOGO! gives this block a block number.  LOGO! shows you the connection between the blocks over the block numbers.  The block numbers only serve for orientation help in the program.

In the overview picture you see 3 display views from LOGO! that together make the program.   The blocks from LOGO! are connected to one another over the block numbers.

3.9	The 4 Golden Rules for the Servicing of LOGO!

Rule 1 - the 3-Finger-Handle

Enter the circuit in the operation mode programming.  You arrive in the programming operation mode in which you push simultaneously the 3 buttons Cursor left, Cursor right and OK.

You modify values of times and parameters in the parameter assignment operation mode.  You arrive in the parameter assignment operation mode in which you simultaneously push the 2 buttons ESC and OK.

Rule 2 – Outputs and inputs

You always enter a circuit from output to input.

You can connect an output with more inputs, but you can not switch more outputs onto an input.  You cannot connect an output with a proceeding input inside of the program path.  Switch between memory bits or outputs for each internal feedback.

Rule 3 - Cursor and cursor movement

By the entering of a circuit, it applies:

If the cursor is represented as an underline then you can move the cursor.

– With the buttons ,  ,  ,  or  you move the cursor in the circuit

– With OK you change to the  ”Terminal/Block choice”

– With ESC you leave the input mode of the circuit.

If the cursor is represented as a full block then you should choose a Terminal/Block.

– With the buttons  or  you choose a Terminal/a Block

– With OK you accept the choice

– With ESC you arrive a step back

Rule 4 – Planning

Before the entering of a circuit you should plan the entire next step on paper or program LOGO! directly with a LOGO!Soft Comfort.

LOGO! can now save an entire program.

When a circuit is not entirely entered, LOGO! can not leave the programming operation mode.

3.10	Overview of the Menus from LOGO!

4.	Example exercise sliding gate control

Access to a company premesis is in many cases possible from different locations.  Not all gates can always be watched by Personel.  Therefore they must be operated and supervised from a central control room.  Additionally, it must be guaranteed that the personal can open and close a gate directly.

For each gate, a LOGO! 12/24RC is used.

Over the AS-Interface, the modules are linked with one another and operated with an AS-I master.  We describe to you a gate controller for a gate in this section.  The other gate controllers are identically built.

4.1	Requirements for the Gate Control

Each gate is opened or closed by means of a cord operated switch.  The gate is therefore opened and or closed completely.  The gate is opened and closed from the gate keeper logs over the AS-I bus connection.  The state GATE OPENED or GATE CLOSED is displayed.  A blinking light is turned on for 5 seconds before the beginning and during the movement of the gate.  It is guaranteed by a safety pressure strip that no people are injured or things are crushed by the closing of the gate.

4.2	Wiring of the gate control with the LOGO! 24RCLB11

4.3	Used Components

K1 Main contact open

K2 Main contact closed

S0 (Normally open) Cord switch GATE-OPEN

S1 (Normally open) Cord switch GATE-CLOSE

S2 (Normally open) Button GATE-HAND-OPEN

S3 (Normally open) Button GATE-HAND-CLOSE

S4 (Normally closed) Position switch GATE OPENED

S5 (Normally closed) Position switch GATE CLOSED

S6 (Normally closed) Safety pressure strip

4.4	Central Drive and Monitoring of more Industrial Gates

4.5	Layered Control over the AS-Interface

Qa1 Position switch GATE OPENED

Qa2 Position switch GATE CLOSED

Ia1 External button GATE OPEN

Ia2 External button GATE CLOSE

Note

After the AS-I slave address in the LOGO!RCLB11 is used, a different address area is assigned in the AS-I-Master.

4.6	Function Block Diagram LOGO! Solution

Through the start button GATE OPEN or GATE CLOSE, the moving of the gate is instructed as long as the opposing direction is not switched on.  The end of the movement occurs by the end switch.  The closing of the gate is also broken by the safety strip.

5.	Program input in LOGO!

You composed a circuit and now would like to enter it into LOGO!.  We will show you how this works by means of the entering of a program.

5.1	Changing into the Operation Mode “Programming“

You connected LOGO! to the network and turned on the power. On the Display, you should see the following display:

Switch LOGO! into the programming operation mode.

Then push the buttons  ,  and OK simultaneously.

By the first activator of the first cell, you see a  ”>”. With the cursor buttons ( ,  ), move the ”>” back and forth. Move the ”>” to ”Program..” and push the button OK.

5.2	LOGO! changes in the Programming menu

Here you can also move the ”>” with the cursor buttons ( ,  ). Activate the ”>” on ”Edit Prg” (for program editing) and push the button OK.

LOGO! now shows you the first output:

With the cursor buttons ( ,  ), you can choose the other outputs.  Now you begin with the entering of your circuit.

5.3	Program entering

We only input the program (and that was the output to the input).  At the beginning, LOGO! shows the output:

Under the Q of Q1, you see an underscore.  We call the underscore a cursor.   The cursor shows the activator of where you find yourself in the program.  You can move the cursor with the cursor buttons.  Now push the cursor button cursor left.

By this activator you enter only the first block.  You change into the input mode when you push the button OK.

The cursor no longer has the form of an underscore but blinks as a full block.  LOGO! simultaneously offers you different choice possibilities.  Choose SF (push cursor down, until SF appears) and push the button OK. LOGO! now shows you the first block from the list of the special functions (SF):

The block for the on delay contains 3 inputs. The top input is the trigger input (Trg). You start the on delay over this input.  In our example, the on delay from the OR-Block B02 is started.  You activate the time for the on delay over the parameter T.

Note

Indicate the individual logical functions with the block numbers of your LOGO! program from the function block diagram (Page 10).  An error search or modification of the program is facilitated.

5.4	Parameterizing a Block

Enter now the time T for the on delay:

1. 	When the cursor does not yet lay under the T, move it under the T with the help of the cursor button.

2. To change into the input mode: Push button OK

LOGO! shows the parameter window by the parameters:

Move the cursor under the B from B01 (B01 is the block number of the time block).

Push the cursor left button two time in order to position yourself Trg.

Push button OK .

Choose BF for basic functions with the cursor down button.

Accept with OK (The block B02 is displayed).

Choose an OR (OR function) with the cursor down button.

Accept with OK.

First push the OK button (CO appears) for the input of the OR-Block and then push OK one more time ( x appears ) and then a third time OK.  You insert a x for an unused place.  The cursor springs further to the second input of the OR-Block.

Push the OK button on the second input and change to the SF (special functions) with the cursor down.

Accept your choice with OK.

Choose an RS flipflop with the cursor button ( ,  ) and accept with OK.

You are now in block B03.

Add an AND-Block (AND function) to the Set-input of the flipflop with OK, cursor under, BF for basic functions and one more time on OK.

Accept your choice with OK.

You are now in block B04.

Insert the input I5 to the first input of the AND-Block with OK (CO appears) and once more with OK (x displays) and then push the cursor button ( ,  ).

Accept with OK.

Insert an OR-Block (OR function) on the second input with OK, cursor left, BF (basic functions) and once more OK and cursor down .

Accept with OK.

You are now in block B05.

Insert the input I1 on the first input of the OR-Block with OK ( CO appears ) and once more OK ( x appears ) and then the cursor button ( ,  ).

Accept with OK.

Insert the input Ia1 on the second input of the OR-Block with OK ( CO appears ) and once more OK ( x appears ) and then the cursor button ( ,  ).

Accept with OK.

Insert a x (unused place) on the third input of the OR-Block with OK ( CO appears ) and once more OK ( x appears ) and a third time OK.

Block B05 is closed and you find yourself further in block B04.

Insert an x (unused place) on the third input of the AND-Block.

Block B04 is closed and you find yourself on the reset input in block B03.

Insert a NOT-Block (Negation) on the reset input with OK, cursor down, BF (basic functions) and once more on OK and two times on cursor under.

Accept with OK.

You are now in block B06.

Insert the input I5 on the input of the NOT-Block with OK ( CO appears ) and once more OK ( x appears ) and the cursor button ( ,  ).

Accept with OK.

Block B06 is closed and you find yourself on the par input in block B03.

A retentitivity of the flipflop can be set with OK and the cursor button ( ,  ).

Accept with OK.

Block B03 is closed and you find yourself on the third input in block B02.

Insert an AND-BLOCK on the third input of the OR-Block with OK, cursor down, BF (basic functions) and once more on OK.

Accept with OK.

You are now in block B05.

Insert the input I3 on the first input of the AND-Block with OK ( CO appears ) and once more OK ( x appears ) and then the cursor button ( ,  ).

Accept with OK.

Insert the input I5 on the second input of the AND-block with OK ( CO appears ) and once more OK ( x displays ) and the cursor button ( ,  ).

Accept with OK.

Insert an x (unused place) on the third input of the AND-block with OK ( CO appears) and once more on OK ( x appears ) and a third time on OK.

The inputs for the output Q1 are now finished.

Now choose the output Q2 with the cursor buttons ( ,  ).

Push cursor left and enter the program for program Q2  (Page 10).

Notice that accesses are programmed here also from the outputs of available blocks.

You find already programmed blocks under BN (block number, click one time by CO with cursor up).

Enter the programs for the outputs Q3, Qa1 and Qa2.

Now the program entering for the sliding gate control in LOGO!  is closed.

We now quit the program entering. This is accomplished by:

1. Return to the program menu: Push ESC button.

When you have not returned to the program menu then you forgot to completely toggle a block.  LOGO! shows you the activator in which you forgot something in the program.  (LOGO! only accepts fully completed programs).

2. Return to the main menu: Push ESC button.

5.5	Switching LOGO! into RUN

1. Move ’>’ to ’Start’ : with the cursor button ( ,  ).

2. Accept Start: Push OK button .

LOGO! goes into RUN. LOGO! display the following Display in RUN:

LOGO! executes the program in RUN. Next LOGO! reads the states of the inputs, detects the states of the outputs which are associated with your entered program and switches the relays by the outputs on or off..

LOGO! displays the state of an input or an output.

You can now test the sliding gate control on LOGO!

Note the limit switch for GATE OPEN or GATE CLOSED and the safety pressure strip have a normally closed function.  With the hand button OPEN or CLOSE, the motion of the gate is processed as long as the button is activated.  By the processing of the gate, the signal lamp blinks first for 5 seconds before the gate movement begins (this means that the hand button must be held for at least this long).  With this setting, the gate opens or closes in automatic operation mode.

6.	Step 7 project generation

6.1	New Project Generation

Start the SIMATIC Manager and generate a new project.

Input sliding gate control for the name.

Accept it with OK.

Then insert a SIMATIC 300-Station.

Choose SIMATIC 300(1) Station in the left window (first clock on the + by the project name sliding gate control) and open the hardware configuration through a double click on Hardware.

6.2	Hardware Configuration Entering

Enter the hardware configuration for your available controller.

Note the addresses for the in- and outputs and for the communication processor for the AS-Interface.

Save and compile your hardware configuration.

Download the hardware into the CPU.

Close the window for the hardware configuration.

6.3	Driving of the Sliding Gate over the AS-Interface

The LOGO! 12/24RC is connected with the AS-I-Master over the AS-Interface.

One must first assign an AS-I slave address to the LOGO!- Module over an external program device. A memory area of 4 bits for the inputs and 4 bits for the outputs is allocated in the AS-I-Master for the LOGO!- Module.

In our example the LOGO!- Module is assigned the address 9.

LOGO!-Module connected with the PSG.

1.   Turn on PSG  (START)

2.   Activation (ENTER)

- Choose ‘Master‘ (F3)

- Choose ‘Single operation’ (F1)

- Choose ‘New address’ (F1)

- Activate AS-I address (ENTER)

- Enter new address (e.g.: 2)

- Activate inputs (ENTER)

- Return to the main menu (2x ESC)

- Turn off PSG (F4)

In our program example, the opening and closing of the gate is accomplished with the button Gate1-OPEN with the input I0.0 and the button Gate1-CLOSE with the input I0.1.

The indicator light for the gate open or gate closed should be accomplished over the outputs Q4.0 and Q4.1 for the display.

The input signals of the AS-Interface should be downloaded to the input byte 10 in the process-image.  This stands in the address area of the CP342-2 which can be read from the hardware configuration (here from PIW 288).

The output signals for the AS-Interface are readout to the output byte 20 from the process-image.  These must be again read into the address area of the CP342-2  which can be read from the hardware configuration and then written (here to PQW288).

The following table should clear up any coherences.

| Inputs | IN / OUT |  |  |  | IN / OUT |  |  |  | Address | Outputs |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PII | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | CP342-2 (PI/PQ) | PIQ |
|  | In4 | In3 | In2 | In1 | In4 | In3 | In2 | In1 |  |  |
|  | Out4 | Out3 | Out2 | Out1 | Out4 | Out3 | Out2 | Out1 |  |  |
| 10 | Occupied |  |  |  | Slave01 |  |  |  | 288 | 20 |
| 11 | Slave02 |  |  |  | Slave03 |  |  |  | 289 | 21 |
| 12 | Slave04 |  |  |  | Slave05 |  |  |  | 290 | 22 |
| 13 | Slave06 |  |  |  | Slave07 |  |  |  | 291 | 23 |
| 14 | Slave08 |  |  |  | Slave09 |  |  |  | 292 | 24 |
| 15 | Slave10 |  |  |  | Slave11 |  |  |  | 293 | 25 |
| 16 | Slave12 |  |  |  | Slave13 |  |  |  | 294 | 26 |
| 17 | Slave14 |  |  |  | Slave15 |  |  |  | 295 | 27 |
| 18 | Slave16 |  |  |  | Slave17 |  |  |  | 296 | 28 |
| 19 | Slave18 |  |  |  | Slave19 |  |  |  | 297 | 29 |
| 20 | Slave20 |  |  |  | Slave21 |  |  |  | 298 | 30 |
| 21 | Slave22 |  |  |  | Slave23 |  |  |  | 299 | 31 |
| 22 | Slave24 |  |  |  | Slave25 |  |  |  | 300 | 32 |
| 23 | Slave26 |  |  |  | Slave27 |  |  |  | 301 | 33 |
| 24 | Slave28 |  |  |  | Slave29 |  |  |  | 302 | 34 |
| 25 | Slave30 |  |  |  | Slave31 |  |  |  | 303 | 35 |

The slave address 9 is to access our LOGO! 12/24RC.

The AS-I outputs of the LOGO!-Slave Nr.9 are assigned in the process-image of the input table of the SIMATIC S7-300 CPU as follows:

Qa1 = I14.0, Qa2 = I14.1, Qa3 = I14.2 Qa4 = I14.3

The AS-I outputs of the LOGO!-Slave Nr.9 are assigned in the process-image of the output table of the SIMATIC S7-300 CPU as followed:

Ia1 = Q24.0, Ia2 = Q24.1, Ia3 = Q24.2, Ia4 = Q24.3

Note:

An output from the slave is an input for the master.

An input to the slave is an output from the master.

6.4	Control Program for the Driving of the Sliding Gate

Extend the directory tree of the SIMATIC 300 station to the folder Blocks.

Double click on OB1.

Accept the properties with OK.

6.5	Entering Organization Block OB1

After the entering of the OB1 save and download it into the CPU.

Switch the CPU to RUN and test your program.