Training Document

for Comprehensive Automation Solutions

Totally Integrated Automation (T I A)

MODULE F6

Operator Control

with

WinCC flexible 2005

and

TP177B

This document has been written by Siemens AG for training purposes for the project entitled "Siemens Automation Cooperates with Education (SCE)".

Siemens AG accepts no responsibility for the correctness of the contents.

Transmission, use or reproduction of this document is only permitted within public training and educational facilities. Exceptions require the prior written approval by Siemens AG (Michael Knust michael.knust@siemens.com).

Offenders will be liable for damages. All rights, including the right to translate the document, are reserved, particularly if a patent is granted or utility model is registered.

We would like to thank the following: Michael Dziallas Engineering, the teachers at vocational schools, and all others who helped to prepare this document.

1.	preface	6

2.	operator control with WinCC flexible	8

2.1	System Description	8

2.2	Installation/Deinstallation	9

2.2.1	System Prerequisites	9

2.2.2	Installing WinCC flexible	10

2.2.3	Deinstalling WinCC flexible	10

2.2.4	Totally Integrated Automation	11

3.	project description	12

3.1	Hardware Configuration	12

3.2	Plant Description	13

3.3	Task Definition	14

3.4	Configuration	14

4	STEP7 Project "color mixing plant“	15

4.1	New Project	15

4.2	Hardware Configuration	17

4.3	Library of the Color Mixing Plant	18

4.4	Assignment List	20

4.5	Control Program	21

4.5.1	Function Block FB1	21

4.5.2	Variable Declaration	22

4.5.3	Inserting Panel Inputs FB5 as Multi Instance Block from the Program Library	23

4.5.4	Tank Block FB10	26

4.5.5	Automatic Program Sequence FB15	29

4.5.6	Manual Operation FC20	30

4.5.7	Mixer Motion FB25	31

4.5.8	Automatic and Manual Lamps	31

4.5.9	Organization Block OB1	32

4.6	Loading to the CPU	33

4.7	Program Test	33

5	SIMATIC HMI Station	34

5.1	Inserting an HMI Station	34

5.2	Configuring the HMI Station	36

5.3	Checking the Connection with NetPro	37

5.4	Opening the HMI Station	38

6	WinCC flexible Engineering System	39

6.1	Program Interface	39

6.1.1	Menus and Symbol Bars	40

6.1.2	Work Space	41

6.1.3	Project Window	42

6.1.4	Property Window	43

6.1.5	Tool Window	44

6.1.6	Output Window	45

6.1.7	Object Window	45

6.1.8	Resetting the Arrangement	45

6.2	Configuring Displays	46

6.2.1	Display Template	47

6.2.2	Generating Displays	51

6.2.3	Inserting Graphic Displays	52

6.2.4	Configuring Display Changes	55

6.3	Settings at the Touch Panel TP177B color PN/DP	58

6.3.1	Setting the Date and the Time of Day	59

6.3.2	Setting the MPI Address	60

6.3.3	Setting the Profibus DP Address	61

6.3.4	Assigning the Ethernet Address	61

6.3.5	Setting the Transfer Properties	62

6.3.6	Transfer Mode	62

6.4	Checking for Consistency	63

6.5	Transfer Settings and Data Transfer under WinCC flexible	63

6.6	Button END	65

6.7	Configuring a Connection	67

7	display and operator objects	68

7.1	Levels	68

7.2	Basic Objects	69

7.3	Expanded Objects	71

8	display and operator objects in the project "color mixing plant“	72

8.1	Configuring Display and Operator Objects in the Picture“Tank1“	72

8.1.1	Configuring the Bar Display	72

8.1.2	Configuring the Linear Regulator	76

8.1.3	Configuring a Button	79

8.1.4	Representing the Valve Function in Color	83

8.1.5	Testing the Picture “Tank1“ in Runtime	86

8.2	Configuring the Display and Operator Objects in the Pictures “Tank2“ and “Tank3“	87

8.3	Objects in the Basic Display	89

8.3.1	Tank Levels and Valve Representations	89

8.3.2	Configuring the Mixer Motor	90

8.3.3	Configuring the Manual  Mode for the Outflow Valve of the Container	95

8.3.4	Switching Operating Modes	97

8.3.5	Configuring the Fill Entries	99

8.3.6	Configuring the “START“ Button	101

8.3.7	Configuring the Mixer Motion	103

8.4	Configuring Objects in the Permanent Window	107

8.4.1	Configuring Text Fields	107

8.4.2	Configuring the Output Fields	108

9	configuring messages	111

9.1	Analog Messages	111

9.2	Bit Messages	111

9.3	Message Window	112

9.4	Message Indicator	114

9.5	Testing the Message Configuration in Runtime	115

10	Configuring recipes	116

10.1	Adding Recipes	116

10.2	Specifying Data Sets	117

10.3	Generating the Pictures “Recipe Input“ and “Recipe Selection“	117

10.3.1	Configuring the Picture “Recipe Input“	117

10.3.2	Configuring the picture "Recipe Selection“	119

10.3.3	Configuring Buttons for Display Change	120

10.4	Selecting Recipes in Runtime	122

10.5	Entering New Recipes in Runtime	123

11	configuring user management	124

11.1	Setting up the User Group	124

11.2	Setting Up Users	125

11.3	Assigning Authorizations	126

11.3.1	Protecting the Start Button	126

11.3.2	Protecting Data Selection	127

11.3.3	Protecting Recipe Input	127

11.3.4	Protecting the Operating Mode Selection	128

11.4	Testing User Management in Runtime	129

The following symbols are provided as a guide through Module F6:

Information

Installation

Programming

Sample Exercise

Notes

# 1.	preface

In terms of its contents, Module F6 is part of the teaching unit entitled 'Process Visualization’.

Learning Objective:

In Module F6, the reader is introduced to the essential functions of the software WinCC flexible 2005.

Typical task definitions are processed using a sample system.

(	Installing the software

(	Steps for generating a Step7 project

(	Inserting an HMI station

(	Interface of WinCC flexible

(	Configuring display and operator objects

(	Configuring messages

(	Generating recipe management

(	Setting up user management

Prerequisites:

(		Knowledge in handling Windows

(		Fundamentals of PLC programming with STEP 7 (for example, Module A3 - 'Startup’

PLC Programming with STEP 7)

Hardware and software required

1		PC, operating system Windows 2000 SP4 or Windows XP Professional SP1 and SP2 with MS 		Internet Explorer V6.0 SP1

Pentium IV with 1.6 GHz,  512MB RAM, approx. 1.5GB free hard disk storage

2	     Software STEP7 V 5.4

3      Configuring software WinCC flexible 2005 Advanced

4		 MPI interface for the PC (for example, PC Adapter USB)

5		Sample configuration for PLC SIMATIC S7-300:

- Power supply: PS 307 2A

- CPU: CPU 314

- Digital inputs: DI 16x DC 24V

- Digital outputs: DO 16x DC 24V/0.5A

6		Touch Panel TP177B

7	    MPI or Profibus DP data cable for connecting the TP177B to the controller

# 2.	operator control with WinCC flexible

## 2.1	System Description

Since processes are becoming more and more multi-layered and the demands on the functionality of machines and plants are increasing, the operator needs a high-performance tool for controlling and monitoring production plants. An HMI system (Human Machine Interface) represents the interface between a human being (the operator) and the process (machine/plant). The controller actually controls the process. That is, there are two interfaces: one between the operator and WinCC flexible (at the operator panel), and another interface between WinCC flexible and the controller.

The WinCC flexible Engineering System is the software that is used to handle all required configuring tasks.  The WinCC flexible Edition determines which operator panels of the SIMATIC HMI spectrum can be configured.

WinCC flexible Runtime is the software for process visualization. In runtime, the project is executed in the process mode.

WinCC flexible performs the following tasks:

• Displaying the process

The process is mapped to the operator panel. If a status changes in the process, for example, the display at the operator panel is updated.

• Operating the process

The operator can operate the process by means of the graphic operator interface. For example, the operator can specify a setpoint for the controller, or start a motor.

• Reading out messages

If critical process states occur in the process, a message is triggered automatically; for example, if the specified limit is exceeded.

• Archiving process values and messages

The HMI system can archive messages and process values. In this way, you can document the process characteristics, and you can also access older production data later.

• Documenting process values and messages

The HMI system can read out messages and process values as protocol. Thus, you can have production data read out after the end of a shift, for example.

• Managing process parameters and machine parameters

The HMI system can store parameters for processes and machines in recipes. With one operational step, you can transfer these parameters from the operator panel to the controller, in order to change production to another product variant.

## 2.2	Installation/Deinstallation

### 2.2.1	System Prerequisites

WinCC flexible supports all common PC platforms that are IBM/AT compatible. Although values for a minimum configuration are specified, you should use as a guide the recommended values for an optimum configuration, for WinCC flexible to operate efficiently.

| System Prerequisites for | WinCC flexible ES |
| --- | --- |
| Operating System | Windows 2000 SP4, Windows XP Professional SP1 and SP2 |
|  | For multi-lingual configurations: Windows 2000 SP4 MUI, Windows XP Professional SP1 and SP2 MUI |
| Processor |  |
| Minimum | Pentium 4 |
| Recommended | ( Pentium 4, 2.0 GHz |
| Resolution |  |
| Minimum | 1024 x 768 |
| Recommended | ( 1280 x 1024 |
| RAM |  |
| Minimum | 512 Mbyte |
| Recommended | ( 1 Gbyte, ( 512 Mbyte for WinCC flexible micro |
| Hard disk drive (free memory) 1) | ( 1 Gbyte |
| Diskette drive 2) | 3.5“/1.44 Mbyte |
| CD-ROM | for software installation |

1) In addition to WinCC flexible, Windows also makes demands on the free hard disk drive capacity.
For example, free memory should be provided for the swap out file.  The following formula has proven successful: Size of swap out file  = 3 times the size of the RAM. 
Additional information is provided in the Windows documentation

2) To transfer the License Key

### 2.2.2	Installing WinCC flexible

After all system requirements that have been mentioned are met, install WinCC flexible from the CD-ROM. Select the scope for installing components and product languages.

- Standard installation: recommended

- Minimum installation: to save memory

- User defined installation: to specify yourself which components and product languages are installed

In addition, the required licenses have to be transferred. You can install the licenses along with the components and product languages, or you can install them subsequently.  If you have obtained WinCC flexible options, install each option separately. An option is installed by loading the associated license key.

Detailed information regarding the installation are provided in the Installation Instructions on the CD-ROM 'WinCC flexible Software CD1’ in the folder  "Documents\<Language>\Installation Guides“.

### 2.2.3	Deinstalling WinCC flexible

Close all applications that are open, particularly the WinCC flexible Engineering System and WinCC flexible Runtime. Deactivate WinCC flexible Smart Start.

Additional notes on WinCC flexible Smart Start are provided in the chapter "WinCC flexible Smart Start".

Open the system control by means of "Start ► Settings ► System Control".

In the system control, double click on the entry "Software". The dialog "Software" is opened.

In the dialog "Software", select the entry "SIMATIC WinCC flexible 2005". The button "Change/remove" is displayed.

Click on the button "Change/Remove". The WinCC flexible InstallShield Wizard is opened.

Activate the option "Remove program" and click on the button "Continue".

Confirm the deinstallation with "OK". WinCC flexible is removed from the configuring computer.

In the dialog that follows, close the deinstallation with the button "Complete".

### 2.2.4	Totally Integrated Automation

In addition to an HMI system such as WinCC flexible, a complete automation solution includes other components, such as controller, process bus and periphery.  WinCC flexible offers a particularly extensive integration with components from the SIMATIC product family:

• Integrated configuring and programming

• Integrated data management

• Integrated communication

Integration in SIMATIC STEP 7

Process variables are the connecting link for communication between controller and the HMI system.  Without the advantages of Totally Integrated Automation, you have to define each variable twice: once for the controller, and once for the HMI system.

Integrating SIMATIC STEP7 into the configuration interface lowers error frequency and configuring effort. While you are configuring, you are directly accessing the STEP7 symbol table and the communication settings:

-  The STEP7 symbol table includes the data point definitions (for example, addresses or data       types) that were specified when you generated the control program.

-  The communication settings contain the bus addresses and the control protocols

-  Communication is set with NetPro, for example.

# 3.	project description

## 3.1	Hardware Configuration

In our sample program for a color mixing plant, we are using a programming device with the WinCC flexible 2005 Advanced Engineering System and WinCC flexible 2005 Runtime.

The color mixing plant is controlled by means of a SIMATIC S7-300. By using a touch panel (TP177B), the operator can operate the process using the graphic operator interface. For example, the operator can specify a setpoint for the controller, or start a motor.

The programming device, the SIMATIC S7-300 controller and the operator panel TP177B are connected to each other by means of the MPI.

The color mixing plant is connected to the controller with digital inputs and outputs.

PC for Configuring

TP177B as operator panel

Note

With WinCC flexible 2005 Runtime, the touch panel TP177B can also be represented on the programmer.  However, when starting WinCC flexible Runtime, the MPI address of the panel (MPI=1) is set automatically on the programmer. When using a real panel, the MPI address has to first be reset on the programmer to MPI=0.

## 3.2	Plant Description

A color mixing plant is controlled with a SIMATIC S7-300 in the automatic or in the manual mode. In the "Automatic“ mode, the three tanks are filled with a two step control.  At the minimum level, the inflow valve opens automatically, and after the maximum level is reached, it is closed again. After the start button is operated, the specified program is executed: first, the outflow valves are opened and the container is filled from tanks with the specified amounts. After the outflow valves are closed, the mixer motor is started. After the mixing time has expired and after a short idle phase, the outflow valve of the container is opened and the finished color mixture is drained.  When the container is empty, the lamp of the start button lights up, and a new color mixture can be started.

In the "Manual“ mode, the automatic outflow is canceled, and all valves as well as the mixer motor can be operated manually. The lamps in the buttons for manual operation are lit.

Note

The specified amounts and the time base are determined by the program. If you want another color mixture, the specified amounts and the time base have to be changed, and a new program has to be loaded to the controller.

## 3.3	Task Definition

At the color mixing plant, the program was changed with the programmer each time the mixing ratio changed. Since such changes are not only time consuming, but also dangerous if wrong entries are made, it was decided to expand the color mixing plant with a TouchPanel TP177B.

By using the panel, the following requirements are to be met:

- The color mixing plant can also be operated with the panel.

- The levels of the tanks and the container are to be displayed as a bar and also as a numerical value.

- The motion of the mixing motor is to be shown graphically.

- The specified amounts are to be entered on the panel.

- The minimum and maximum levels of the three tanks are to be entered in separate tank graphics.

- The operating modes can be switched using the panel; the respective operating mode is displayed on the panel.

- The completed mixtures are to be stored on the panel as recipes; the operator only has to select them.

- The levels are monitored. If danger arises, messages are to be read out.

- The color mixing plant can only be operated after a password was entered.

- Panel TP177B is to communicate with the SIMATIC S7-300 controller by means of the MPI.

## 3.4	Configuration

On the programmer, process visualization is generated for the color mixing plant, using the configuring software WinCC flexible 2005 Advanced. The process values are represented by graphics and graphic objects. Default values can be transferred to the controller with operating elements. The operator panel and the machine or the process communicate by means of variables via the controller. The value of a variable is written to a memory area (address) in the controller.  There, it is read by the operator panel.

Process visualization is stored and after generation, it is transferred by the programming device to the operator panel TP177B.

After the panel is powered up, the process can be monitored and the plant can be operated.

# 4	STEP7 Project "color mixing plant“

## 4.1	New Project

Start the SIMATIC Manager.

Create a new project with the Name “Color Mixing Plant“.

Insert the SIMATIC 300 Station.

By double clicking on Hardware, start the hardware configuration.

## 4.2	Hardware Configuration

Enter the hardware configuration of the controller you are using. Take note of the settings in the sample configuration.

For our mixing plant, we are using the following hardware:

Slot 1: PS307 2A			6ES7 307-1BA00-0AA0

Slot 2: CPU 314C-2DP 		6ES7 314-6CF00-0AB0

The CPU 314C-2DP is assigned the Profibus DP Addr.2 and is connected.

The CPU 314C-2DP is assigned the MPI Addr.2 and is connected.

The clock flag is set to MB100.

At the integrated inputs and outputs DI24/DO16, the inputs are set starting with Address 0, and the outputs starting with Address 4.

Save and compile the hardware configuration.

Load the hardware to the PLC.

Close the hardware configuration.

Note

The SIMATIC S7 controller can also be simulated with the PLC simulator PLC SIM.

However, the simulator has to be started prior to loading the hardware to the CPU.

## 4.3	Library of the Color Mixing Plant

First, the library with the program blocks has to be imported to the SIMATIC Manager. To this end, select the function Dearchive in the menu File.

From the template directory, select the file “Color mixing plant_Library“.

Click on the button “Open“.

As destination directory, select the folder “S7LIBS“ in the Step7 directory.

Confirm with OK.

In the following window, click on the button “No“

<<the following objects were dearchived:  Projects: None. Libraries: color mixing plant. Do you want to open them now?>>

The project library “Color mixing plant“ was copied to the library directory. Here, all required program blocks are stored.

## 4.4	Assignment List

Open the project window in the symbol table.

Enter the symbol assignments in the symbol table.

Save and Close the symbol table.

## 4.5	Control Program

### 4.5.1	Function Block FB1

With the right mouse key, generate the FB1 in the folder Blocks.

Enter the symbolic name and the symbol comment.

Select the programming language “FBD“.

Place the check mark at Multi-instance capability.

Confirm with OK.

### 4.5.2	Variable Declaration

Open FB1 with a double click.

Enter the following STAT variables.

<<hand_ablauf = manual outflow; hand-zulauf = manual inflow; hand_ablauf_behaelter = manual outflow container>>

Enter the following TEMP variables.

<<ablaufmenge = outflow amount>>

Note

The STAT variables are connected to the operator buttons on touch panel TP177B.

The TEMP variables are needed for passing on values in FB1.

### 4.5.3	Inserting Panel Inputs FB5 as Multi Instance Block from the Program Library

Drag FB5 for the panel inputs from the library “Color mixing plant“ to Network 1.

This block is needed for connecting the input signals from the panel to the inputs of the controller.

Right click on the inserted block and select “Change in multi-instance call“.

Enter the name “panel inputs“.

Confirm with OK.

Wire the upper 10 inputs of the block to the STAT variables.

Wire the lower 10 inputs of the block with the symbolic names.

### 4.5.4	Tank Block FB10

Create a new network.

Drag the tank block FB10 from the library to Network 2.

Right click on the inserted block.

Select “Change to multi-instance call“

Enter the name “tank1“.

Confirm with OK.

This block contains the two step control and the calculations for simulating the level. When level sensors are used, only the two step control would be necessary. Wire the block’s inputs.

Repeat the steps for Tank2 in Network 3.

Note

Writing the symbolic names in “CAPITALS“ and the variables in “lower case letters“ makes better assignments possible.

Repeat the steps for Tank3 in Network 4.

Create a new network and drag tank block FC10 from the library to Network 5.

### 4.5.5	Automatic Program Sequence FB15

The automatic program sequence is described in the plant description.

### 4.5.6	Manual Operation FC20

Create a new network and drag the FC20 from the library to Network 7.

This block contains the manual operation of the tanks’ outflow valves in the manual mode.

This FC20 has to be called after the FB15, since the automatic valve operations of the FB15 have to be overwritten by the manual mode in FC20.

Wire the inputs of the block.

### 4.5.7	Mixer Motion FB25

This block is necessary to simulate the mixer motion. When the mixer motor is in operation, a count in 150ms cycles, of the value 0 to 12 is incremented.

### 4.5.8	Automatic and Manual Lamps

In the last FB1 network, assignments for the automatic and manual lamps are generated.

FB1 is now completed.

Save and Close FB1.

### 4.5.9	Organization Block OB1

Open OB1 by double clicking on it.

Drag FB1 from the folder “FB Blocks“ to Network 1 for the control program

Enter DB1 as instance data block.

In the message window, click on the button “Yes“.

OB1 is now complete.

Save and Close OB1.

## 4.6	Loading to the CPU

The control program for the color mixing plant is not completed.

In the project window, highlight the folder Blocks and then click on the button “Load“

## 4.7	Program Test

After loading the control program to the CPU, switch the controller to the RUN mode.

Test your program.  For example, at the tank blocks, you can monitor the levels.

With “Monitor/control variables“, you can enter levels (MW120 to MW124).

# 5	SIMATIC HMI Station

## 5.1	Inserting an HMI Station

In your project window, highlight the project name “Color mixing plant“ (Farbmischanlage) and insert a SIMATIC HMI station.

The properties of WinCC flexible RT are opened.

As device type, select TP 177B color PN/DP.

Confirm with OK.

SIMATIC WinCC flexible ES is started and a SIMATIC HMI station is inserted.

## 5.2	Configuring the HMI Station

At the inserted SIMATIC HMI station, click on Configuration.

Connect the SIMATIC HMI station with the MPI network.

Click on Save and Compile.

Close the configuration.

Note

In the WinCC flexible project, a connection via the MPI is generated automatically.

## 5.3	Checking the Connection with NetPro

Start NetPro by clicking on the button in the SIMATIC Manager.

Here, you can check the communication connections very easily.

Also, you can make changes or corrections subsequently with NetPro.

With a double click, the module’s properties are opened.

IMPORTANT NOTE

NetPro, the hardware configuration, and WinCC flexible access a joint data base and must not be opened at the same time.

If one of these programs is opened, only reading functions are often possible in the next program.

The advantage is that a change of the MPI address, for example, is accepted in all programs.

## 5.4	Opening the HMI Station

Right click on “WinCC flexible RT“ and select Open Object.

# 6	WinCC flexible Engineering System

## 6.1	Program Interface

The work environment of WinCC flexible consists of several elements. Some of these elements are coupled to certain editors and are visible only if the corresponding editor is active.

WinCC flexible consists of the following elements:

### 6.1.1	Menus and Symbol Bars

The menus and the symbol bars contain all the functions you need to configure your operator panel.  If a corresponding editor is active, menu commands or symbol bars are visible specific to the editor.

If you point to a command with the mouse pointer, you will get a corresponding QuickInfo for each function.

When a new project is set up, the symbol bars are positioned at the upper screen boundary as a matter of standard.  The position of the symbol bars is coupled to the user that is signed on in Windows. If you have moved symbol bars with the mouse, the positions that the symbol bars had at the last close are restored after starting WinCC flexible.

The following menus are available in WinCC flexible:

The availability of the menus and their instruction set depends on the editor that is used.

### 6.1.2	Work Space

In the work space, the objects of the project are edited. All elements of WinCC flexible are arranged around the work space. Except for the work space, you can arrange and configure all elements according to your own requirements; for example, shifting or hiding.

In the work space, project data is edited either in table form (for example, variables) or graphically   (for example, a process image). Each opened editor is represented in the work space on its own tab sheet.  For graphic editors, each element is represented by a separate tab sheet. If you have several editors opened at the same time, only one tab sheet is active. To switch to another editor, click on the corresponding register sheet. You can have a maximum of 20 editors opened at the same time.

### 6.1.3	Project Window

The project window is the central control point for project processing.  All constituent parts and all available editors of a project are displayed as a tree structure in the project window and can be opened from there. To each editor, a symbol is assigned. With it, you can identify the associated objects.  Only those elements are displayed in the project window that the selected operator panel supports. In the project window, you can access the device settings of the operator panel, language support, and version management.

The project window represents the structure of the project hierarchically

• Project

• Operator panels

• Folders

• Objects

In the project window, objects are set up and opened for processing. You can set up folders to structure the objects of your project. The project window is operated similar to the Windows Explorer. For all objects, you can call a context menu where the most important commands are combined.

Elements of graphic editors are shown in the project window and in the object window. Elements of tabular editors are displayed only in the object window.

### Property Window

In the property window, the properties of objects are edited; for example, the color of picture objects.

The property window is available only in certain editors.

In the property window, the properties of the selected object, arranged by categories, are displayed.

As soon as you exit an input field, the values that were changed are effective.

If you enter an invalid value, it is displayed with a background color.

Using QuickInfo, information is provided about the valid value range, for example.

IMPORTANT NOTE

The inputs in the property window are not accepted by operating the input key, but by exiting the field, or by clicking on another field.  Please note where you are clicking after making inputs via the keyboard. Otherwise, you will possibly be changing to the properties of the selected object, or a check mark is placed in a check box in the property window, since the area of focus is very large.

### 6.1.5	Tool Window

The tool window provides you with a selection of objects that you can insert in your pictures; for example, graphic objects and control elements. In addition, the tool window includes libraries with completed library objects, and collections of picture blocks.

### 6.1.6	Output Window

In the output window, system messages are displayed standard in the sequence in which they occur. The categories identify each WinCC flexible submodule that generated a system message.  System messages of the category "Generator" are generated, for example, during the consistency check.  To arrange the system messages, click on the header of the corresponding column.  The output window displays all system messages of the last action. If there is a new action, all previous system messages are overwritten.

To provide continued access to existing system messages, they are stored in a separate log file.

Errors -for example, during generation- are displayed in color and can be selected by using the context menu. You can jump to an error location or to a variable, copy system messages, or clear them.

### 6.1.7	Object Window

In the object window, the contents of the folders in the project window are displayed.

The object window can be displayed permanently by docking it onto or shifting it into the project window.

### 6.1.8	Resetting the Arrangement

In the menu “View“, click on “Reset arrangement“.

## 6.2	Configuring Displays

A display can consist of static and dynamic parts.  The controller does not update static parts, such as texts and graphics.

Dynamic parts are connected to the controller, and visualize current values from the controller’s memory. Visualization can be in the form of alpha-numerical displays, curves, and bars.  Dynamic parts also consist of inputs made at the OP that are written to the controller’s memory. They are interfaced with the controller by means of Variables.

For our color mixing plant, five displays are to be generated initially.

Display Template

This display is set up automatically, and contains central functions.

In the upper area of the display, a permanent window is generated. Here, the levels of the tanks, of the container and the project name are shown.

In the lower area of the display, the message window and the message indicator are shown. These objects are also embedded in all displays, and are opened in the display’s foreground if there is a message, for example.

Basic Display

This display also is set up automatically, and it is also defined as start picture. Here, the entire plant is shown

Changing the operating mode, starting the mixing process, operating the mixer motor manually, and opening the outflow valve can be performed by means of buttons. The motion of the mixer and the states of the valves are shown graphically. By means of input fields, the amounts of the individual additives are specified. In addition, it is to be possible to jump to the other displays. Using the button END, the runtime at the panel is terminated, and a new transfer can be made.

Tank1

In the third picture, the valves of Tank1 can be operated manually. The maximum and minimum amount of filling has to be preset at linear regulators.  By means of buttons (Open valve), the inflow and outflow valve can be opened or closed. The valves are shown graphically, and change color when they are open.

The level is indicated in red. If the maximum level is reached, the inflow valve is closed in the automatic mode.  When the tank is completely full, the inflow valve can not be opened.

With additional buttons, you can switch to the other tanks, or to the basic display.

Tank2, Tank3

The displays for Tank2 and Tank3 are structured exactly like the display for Tank1.

The valves and the level of Tank2 are colored green.

The valves and the level of Tank3 are colored blue.

### 6.2.1	Display Template

Specifying the permanent area, and changing the background color.

With a double click on Template, open the display Template in the project window.

Drag the bar in the upper area of the panel display window a little downward.

Change the background color in the property window for the permanent area to yellow.

Change the background color in the property window for the work area to white.

Note

If you open the Settings in the menu Options and display the Grid (Raster anzeigen), you can set the permanent window to a size of 32 pixels.

Inserting a text field

Drag and drop a text field from the tool window to the permanent window.

For the properties in the text field, enter “Color mixing plant“.

Caution! Do not press the input key.

Under Properties, click on  Representation and remove the checkmark adjust automatically. Change the size and the position of the text field.

Under Properties, click on Text and

change the font size and the text orientation.

Inserting the date and time of day field

Drag a date/time of day field from the tool window and drop it in the permanent window.

Under Properties, change the style of the fill type to “Transparent“

Under Properties, click on Representation and remove the check mark Adjust automatically. Change the size and the position.

Under Properties, click on Text.

Change the font size and the orientation of the text.

For the time being, the display Template is completed.

Note

Now and then, you should save your project by clicking on the diskette symbol.

### 6.2.2	Generating Displays

In the project window, right click on Display1 and select Rename.

Enter “Basic display“ as the name for the picture.

Double click on Add picture and assign the name  “Tank1“.

Generate the pictures for Tank2 and Tank3 also.

For all pictures, change the background color of the work area to white. To do this, click on the tabs of the figures.

### 6.2.3	Inserting Graphic Displays

Drag a graphic display to the work area of the basic figure.

In the property window of the graphic display, graphics can now be selected from the list. Using the buttons, you can create new graphics from files or from OLE objects. You can also delete graphics from the list.

The selected graphic appears in the preview window, and has to be inserted or removed with the button Select or Deselect.

Double clicking on the graphic opens the graphics program.

Click on Generate new graphic from OLE object.

Select Generate from file and click on Browse.

Highlight the figure “Plant.bmp“ and click on Open.

In the window that follows, confirm your selection with OK.

Under Representation, change the size and position of the graphic.

Repeat these steps for inserting the graphics in figures Tank1 to Tank3.

Under Representation, change the size and the position of the three inserted graphics.

Note

If a graphic is inserted by means of an OLE object, the file name is retained.

Don’t forget to save!

### 6.2.4	Configuring Display Changes

By means of buttons, it is to be possible in each figure to change to the other three figures. In the case of WinCC flexible, only the names of the figures have to be dragged from the project window to the figure. The buttons are generated automatically.

Change the size and the position of the button.

Under text, select the font “Tahoma; 8pt“.

Repeat these steps for the buttons for Tank2 and Tank3.

In the tank figures, generate the buttons for the display change.

Change the width of the button “Basic display“ to 60.

You can also copy and insert prepared buttons.

Don’t forget to save!

Basic Display

Figure Tank1

Figure Tank2

Figure Tank3

## 6.3	Settings at the Touch Panel TP177B color PN/DP

Before we can perform the first test, the settings on the touch panel have to be executed first.

The following settings have to be made:

- Setting the date and time of day

- Assigning the MPI or Profibus DP address

- Assigning the Ethernet address

- Setting the transfer properties

Touch Panel TP177B processes with the operating system Windows CE and can, like all touch panels, be operated directly on the screen. For better operation, you should use a touch pen, or connect a mouse at the panel’s USB interface.

After starting the panel, the desktop appears and the window of the loader. At the lower edge of the screen, the start bar is located.  With it, you can -just as with other Windows systems- start the programs or make settings.

Buttons in the Loader:

Transfer: 	Data transfer becomes active, and data can be entered by WinCC flexible

Start:	Runtime is started, and process visualization appears on the panel

Control Panel:	The Windows CE desktop is called

Taskbar:	The start bar is opened

### 6.3.1	Setting the Date and the Time of Day

To set the date and the time of day, operate the button Control Panel.

This opens the desktop of Windows CE.

Select Date/Time to make the settings.

Set the time zone, the date and the time. Confirm with OK.

### 6.3.2	Setting the MPI Address

To set the MPI address on the panel, click on “S7 Transfer Settings“

Select MPI and click on Properties.

Place a checkmark at “Panel is the only master on the bus“.

Assign the MPI Address 1 and confirm with OK.

Note

Many panels allow data transfers only if either the panel or the programmer is set as the only master on the bus.

### 6.3.3	Setting the Profibus DP Address

To set the Profibus DP address, click on “S7 Transfer Settings“ on the desktop.

Select Profibus and click on the button Properties.

Place the checkmark at “Panel is the only master on the bus“.

Assign the Profibus DP Address 1 and confirm with OK.

### 6.3.4	Assigning the Ethernet Address

On the desktop, operate the symbol

and select the Onboard LAN Ethernet Driver.

Click on the button Properties.

Here, you can make the settings for the Ethernet.

### 6.3.5	Setting the Transfer Properties

On the desktop, click on the symbol

Select MPI/Profibus and click on the button Advanced.

In the window that follows, select MPI and confirm with OK.

Note

The settings at Transfer Settings have nothing to do with the connection settings in the

WinCC flexible project.

For example, data can be transferred between Panel TP177B and WinCC flexible by means of the Ethernet interface, and the panel and the SIMATIC S7 controller can communicate by means of the MPI.

### 6.3.6	Transfer Mode

Close the desktop and switch the panel to the Transfer Mode.

Connecting to host … appears in the transfer window.

## 6.4	Checking for Consistency

Before you transfer the WinCC flexible project to the panel, the consistency should be checked. The project is checked and generated.

Click on Consistency check of the project.

The result is displayed in the output window.

## 6.5	Transfer Settings and Data Transfer under WinCC flexible

In WinCC flexible, the settings have to be made for the transfer.  Click on the button Settings for the Transfer.

For Mode, select MPI/DP; enter 1 as station address.

Click on Transfer.

Confirm overwriting the keyword list.

<<Do you want to overwrite the existing keyword list on the operator panel?>>

If the transfer settings are correct on the panel and in WinCC flexible, the transfer starts now.

After restarting the panel, the start picture appears in runtime.

Test all buttons for the display change.

## 6.6	Button END

The project can only be transferred again if the panel TP177B is in the transfer mode. When the panel powers up, the loader appears for a few seconds with the button “Transfer“. Before each transfer, the panel would have to be taken off load so that a switchover to the transfer mode is possible. Data is lost in that case; for example, the date and the time of day have to be reset.

For that reason, in our basic display we are creating a button for ending the runtime mode.  Drag a button into your basic display.

Change the text, the font size, the size 40 x 20, the position and the color (red) of the button.

Under Events, select the function StopRuntime by Clicking on the function.

A configured function is referred to in bold print.

Under mode, other settings can be made.

For our panel TP177B, only Runtime is to be terminated.

Save your project and start the consistency check.

Note

If during the consistency check, lines that are marked blue that contain internal warnings occur, you have to regenerate the entire project first.

In the menu “Project“, click on Generator and select Regenerate everything.

Perform a restart at the panel (take it briefly off load).

Switch the panel to the transfer mode.

Transfer your project to the panel.

Click on the END button

Reset the date and the time, and start Runtime.

## 6.7	Configuring a Connection

So far, we worked in our project without accessing the SIMATIC S7 controller.

On our panel, levels are to be displayed and fill setpoints are to be entered.

For operator and display objects that access the process values of a controller, first the connection to the controller has to be configured.

Here, you specify how and by means of what interface the panel communicates with the controller.

Double click on the window Connections.

All parameters are already set through the settings in the hardware configuration.

Note

To set up a new connection, double click in the free field in the first column. Change the connection parameters of the newly created connection

# 7	display and operator objects

Display and operator objects are graphic elements with which process displays are designed.

In Runtime, all display and operator objects behave dynamically.

In addition, you can make the properties of objects dynamic.

One example of this is the graphic of a tank whose liquid level is displayed as varying, depending on the corresponding process value.

Another example for the dynamic behavior of an object is a button that triggers a certain function. In principle, you can make all graphic objects dynamic.

You can configure the following:

- The object changes its appearance: color and blinking.

- The object moves in the picture.

- The object is inserted/removed.

For operator elements, you can configure the following:

- The object is enabled or disabled for operation.

- By operating the object -for example, by clicking on it- an event is triggered to which the processing of a function list is configured.

## 7.1	Levels

For differentiated representation of a picture and for editing the objects in it, levels and multi- layering of the objects are provided.

A picture has 32 levels.  You can insert objects in each level.  The assignment to a level specifies the depth of the layer of an object in the picture.  Objects of Level 0 are located deep in the background of the picture, objects of Level 31 in the very foreground.

In addition, objects in a single level are also staggered.

When creating a process image, the objects of an individual level are -by default- arranged in the sequence in which they were configured. Within the level, the object that was inserted first is located at the very back. Each additional object is inserted one position ahead of it. The position of  the objects in relation to each other can be changed within the level. There is always an active level. When you insert objects in a figure, they are assigned to the active level by default. The number of the active level is indicated in the symbol bar "Level".

In the level palette, the active level is highlighted in color.

When you open a picture, all its 32 levels are always displayed.

With the level palette, you can hide, after opening, all levels except for the active level. This allows you to specifically edit the objects in the active level.

## 7.2	Basic Objects

Note

Depending on the operator panel for which you are configuring, some objects from the tool window are not available, or only with limited modes of operation.

Objects that are not available are displayed in the tool window grayed, and can not be selected.

## 7.3	Expanded Objects

# 8	display and operator objects in the project "color mixing plant“

## 8.1	Configuring Display and Operator Objects in the Picture“Tank1“

First, a bar, two sliders (linear regulators), and two buttons are configured.

### 8.1.1	Configuring the Bar Display

To display the current level of Tank1, we configure a bar.

Drag a bar into the picture Tank1.

As a Maximum Value, enter 1000.

From the symbols of the color mixing plant, select the variable “CONTENT_T1“ as process variable.

The WinCC flexible variable “CONTENT_T1“ was generated automatically as process variable.

By double clicking on Variables in the project window, additional settings can be made.

Change the data collection cycle of the variable to 100ms. The variable will now be updated every 100ms.The movement of the bar -that is, the tank level- is now shown as flowing.

Note

Communication influences the cycle time of the SIMATIC S7 300 controller. If there is a large number of variables, the data collection cycle of each variable should be weighed carefully.

In the property window, under Style (Gestaltung), change the color assignments of the foreground color to red and the background of the bar to white.

At Scale, remove the check mark “Display scale“ (Skala anzeigen).

At the limits, remove the check mark for “Display limit lines“ (Grenzwertlinien anzeigen).

At Representation, change the position and the size of the bar.

Bar direction is already preset to UP (Oben).

The bar for indicating the level in the picture Tank1 is now completed.

### 8.1.2	Configuring the Slider (Linear Regulator)

To set the minimum level, we are configuring a slider. From the tool window under Expanded Objects, drag the Slider into the picture “Tank1“.

As the maximum value, enter 450, as the minimum value, enter 10 and select as process variable the variable “low_level“ from the FB call “tank1“ of DB1 of the color mixing plant.

Note

Under WinCC flexible, you can also access the variable declaration in a data block.

At Design, enter “MIN“ for labeling.

At Representation, change the position and the size of the slider.

At text, change the font size.

Insert a second slider for setting the maximum level in Tank1.  Change the Minimum Value to 550, the Maximum Value to 990, and select the variable “high_level“ as process variable from the FB call “tank1“ of DB1.

For labeling, enter “MAX“ at Design.

Position the slider on X244 and Y32 and change the size to 64 x 152.

Finally, change the font size at Text.

The picture Tank1 now looks like this.

In the meantime, three variables were set up automatically. If there should be additional variables, highlight the line and delete the variable (right mouse key).

Don’t forget to save!

### 8.1.3	Configuring a Button

To open the valves, we are configuring a button.

From the tool window under Basic Objects, drag a Button into the picture “Tank1“.

In General, place a check mark at Text EIN (open inflow valve) and enter the texts.

Caution! Don’t press the enter key after entering the text; otherwise, a new line is generated.

Change the background color to white, and select a smaller font size.

Set the position and the size.

In the function list, at Drücken (Press), select the function “SetzeBit“ (set bit).

From DB1, select as variable “hand_zulauf_tank1“ (manual inflow tank1).

We want to generate the function of a button; for that reason, configure now the function “RuecksetzeBit“ (reset bit) with the variable “hand_zulauf_tank1“ at Loslassen (releasing) the button.

The button is to be operable only in the manual mode.

Under Animations, select Operability.

Set the check mark at Activated.

From the symbols, select “H3_MAN“ as variable.

Enter 1 at “From“ and 1 at “To“.

Set the status to Activated.

The button can only be operated if the variable “H3_MAN“ has the value 1.

For operability (Bedienbarkeit) to be visible, change the background color to Blue at Style (Gestaltung).

Copy and insert the button.

Change the text to “Ablaufventil“ (outflow valve), the position to X80, Y158.

Under Ereignisse (events) Drücken and Loslassen (press and release), select the variable “hand_ablauf_tank1“ (manual outflow Tank1).

In our variable list, only three additional variables were set up automatically.

### 8.1.4	Showing the Valve Function in Color

The switching states of the valves are to be visible by changing color.

To this end, first set the zoom factor of the view to 400% and select the picture excerpt of the valve. Then, in the tool window, highlight the Polygon.

.

Trace the valve by clicking on each corner, and by double clicking at the end.

Because of the grid function, the polygon is a little larger than it is in the graphic.

The size and the position will be adjusted in the Properties.

Change the position and the size in a way so that the graphic and the polygon fit together.

In the Properties at Style, change the fill color to yellow.

Under Animation, activate Style and use the variable “ZULAUF_T1“ (Inflow T1).

Set the Type to Bit 0, and at Value 1, change the background color to Red.

Copy and insert the polygon.  Rotate the polygon by 90 degrees and position it below the tank (the button for rotating by 90 degrees is in the symbol bar above).

Use the variable “ABLAUF_T1“ (Outflow T1) for the color change in Style.

Don’t forget to save!

### 8.1.5	Testing the Picture “Tank1“ in Runtime

Check the consistency of the project.

Note

If during the consistency check, lines marked blue with internal warnings occur, the entire project has to be regenerated.

In the menu “Project“, click on Generator and select Regenerate everything (alles neu generieren).

Switch the TP177B to the transfer mode.

Transfer the project.

Test the functions in the picture “Tank1“.

Note

If the container is full, the outflow valve can no longer be opened.

You first have to empty the container using the button “HAND_OUT_BEH (E1.6)“.

If you set the data collection cycle of all variables to 100ms, the operation of the buttons and the valve function are updated faster.

## 8.2	Configuring the Display and Operator Objects in the Pictures “Tank2“ and “Tank3“

The picture for Tank2 and Tank3 is structured exactly like the picture for Tank1.

In the picture “Tank2“, the level of the tank and the valve function are to be displayed in the color green and the variables for Tank2 are used; for example,  “INHALT_T2“ (Content Tank2).

In the picture “Tank3“, the level of the tank and the valve function are to be displayed in the color blue and the variables for Tank3 are used; for example,  “INHALT_T3“.

Configure the tank pictures by either repeating the steps described in 8.1 and using a different color and variable assignment, or by copying the objects of the picture “Tank1“ and inserting them in the picture “Tank2“ and “Tank3“.

You can highlight and copy several objects with SHIFT+mouse click.

Then switch to the picture “Tank2“ and “Tank3“ and insert the objects.

After you inserted the objects, only the color assignments and the variables have to be changed. For the bars and the valves, the size and the position have to be adjusted to the background graphic in addition.

Check the generated variables and test the objects of the pictures in runtime.

View of picture “Tank2“

View of picture “Tank3“

## 8.3	Objects in the Basic Display

### 8.3.1	Tank Levels and Valve Representations

In the basic display, the levels and the valve functions of the three tanks are to be shown.  In addition, the level of the container and the function of the outflow valve at the container are to be displayed graphically.

From the three tank pictures, copy the bars of the tanks, and the polygons of the inflow and outflow valves to the basic display.

After you inserted the objects, only change their size and position.

Create a new bar for the level of the container. Use the variable “INHALT_BEH“ (content_container) for the process value, and enter as Maximum Value 3000.

Use the color violet as the fill color for the bar (foreground color).

Remove the scale and the limit lines.

Adjust size and position to the background graphic.

Copy and insert one of the polygons for representing the valve in the basic display.

Position the polygon over the outflow valve of the container, and change the color to violet

in Properties under Animation.

As control variable, use the variable “ABLAUF_BEH“ (outflow_container).

Test the basic display in Runtime.

### 8.3.2	Configuring the Mixer Motor

To represent the mixer motor, a graphic EA field that is connected to a graphic list is used.

For manual operation by means of the panel, we are using a symbolic EA field that is connected to a text list.

Generating the Graphic List

In the project window, click on Graphic Lists in the folder “Text and Graphic Lists“.

In the column Name, double click on the first line, and in this way generate a new graphic list.

Change the name of the graphic list to “Motor“.

Under Selection (Auswahl), select “Range (0-…)“.

Below, at Value 0, insert the graphic “motor_off“, and at Value 1, the graphic“motor_on“ as OLE object from the template (Vorlage) directory Pictures (Bilder) (is described in Section 6.2.3).

Inserting a Graphic EA Field

Drag a Graphic EA field into the basic display.

In the properties, set the mode Ausgabe (output) and select the graphic list Motor and the variable “MISCHERMOTOR“.

Adjust size and position.

Generating a Text List

In the project window, double click on Text Lists in the folder “Text and Graphic Lists“.

In the column Name, double click on the first line, and create a new text list in this way.

Change the name of the text list to “Motor text“.

At Auswahl (selection), select “Range (0-…)“.

Below at Value 0, enter the text “Motor aus“ (motor off), and at Value 1 the text “Motor ein“ (motor on).

Inserting a Symbolic EA Field

Drag a Symbolic EA field into the basic display.

Set the mode to Eingabe/Ausgabe (input/output) and select the text list Motortext and the variable “hand_mischermotor“. Adjust the font size, size and position.

Under Animation at manual mode, activate the background color blue.

In addition, manual operation is to be possible only in the manual mode.

Test the function in runtime.

### 8.3.3	Configuring the Manual Mode for the Outflow Valve of the Container

We are creating an additional button for opening the outflow valve.

From the tool window, under Basic Objects, drag a Button into the basic display.

Under Allgemein (General), at Text  AUS, enter “Ablauf öffnen“ (open outflow). Set the check mark for Text EIN, and enter the text “Ablauf offen“ (outflow open).

Caution! After entering the text, don’t press the enter key; otherwise, a new line is generated.

Change the background color to white, and select a smaller font size.

Set the position and the size.

In the function list, select the function “SetzeBit“ at Drücken (press).

From DB1, select as variable “hand_ablauf_behaelter“ (manual outflow container).

We want to generate the function of a button; for that reason, we are now configuring the function “RuecksetzeBit“ (reset bit) with the variable “hand_ablauf_behaelter“ when releasing the button.

The button is to be operable only in the manual mode.

Under Animationen, select Bedienbarkeit (operability) and place the checkmark at Activated.

As variable, select “H3_MAN“ from the symbols.

Enter 1 for “Von“ (from) and 1 for “Bis“ (to). Set the status to Activated.

The button can only be operated if the variable “H3_MAN“ has the value 1.

For operability to be visible, change the background color to blue at Style.

Test the function of the button in the manual and in the automatic mode.

### 8.3.4	Switching the Operating Modes

Selecting the operating mode is also to be possible on the TP177B.

We are using a switch for this function.

Drag a switch into the basic display.

When making settings, select the switch with text, and enter the texts.

As variable, use “man_auto“ from DB1.

Change the background color to blue, and select a smaller font size.

Set the position and the size.

At Style (Gestaltung), select the variable  “H2_AUTO“ from the symbol table.

Test the manual/automatic switchover in runtime.

### 8.3.5	Configuring the Fill Setpoints

The fill amounts for the tanks are to be entered by means of the TP177B.

To this end, input fields are configured.

Drag an EA field into the basic display.

Change the settings at General (Allgemein). Use the variable “ENTRY_T1“.

Change the properties at Representation (Darstellung).

Change the properties at Text.

Copy and Insert the EA field. Position it each once next to Tank 2 on X171 and Tank 3 on X282.

Change the variables to VORGABE_T2 and VORGABE_T3.

### 8.3.6	Configuring the “START“ Button

To start the color mixing plant, we still need the button “START“.

The button is to blink green when the start enable of the program is activated.

The button can only be operated when start enable is active.

From the tool window, under Basic Objects, drag a Button into the basic display.

Under Allgemein (General), at Text AUS, enter “START“.

Change the background color to white, and select a smaller font size.

Set position X280, Y110 and the size 40 x 20.

In the function list, select the function “SetzeBit“ at Press (Drücken).

As variable, select  “start_prog“ from DB1.

We want to generate the function of a button; for that reason, you are now configuring the function “RuecksetzeBit“ with the variable “start_prog“ when releasing (loslassen) the button.

Under Animations, select Bedienbarkeit (operability) and place the check mark at Activated.

From the symbols, select “H1_STARTFREIGABE“ (start enable) as variable.

Enter 1 at “Von“ (from) and 1 at “Bis“ (to). Set the status to Activated.

Now, the button can only be operated if the start is enabled.

For the start enable to be visible, activate Style (Gestaltung) also.

Use the variable “H1_STARTFREIGABE“.

In addition, change the foreground color to white and the background color to green.

At Blinken, set to “Yes“.

Test the function of the input fields and the START button in runtime.

By means of the input fields, specify the fill amounts, and start the program. The start is enabled only if the lower tank container is empty; that means possibly opening the outflow valve beforehand in the manual mode until the container is empty.

.

### 8.3.7	Configuring the Mixer Motion

We are using a graphic EA field for animating the mixer motion. By means of a graphic list, the mixer motion is shown as in an animated cartoon.

Create a new graphic list with the name “Mixer Motion“.

At Value (Wert) 0 to 12, insert from the template directory the graphics “Mixer1“ to “Mixer7“ first in an ascending sequence and then in a descending sequence.

Drag a graphic EA field into the basic display. At mode “Ausgabe“ (output), and under Display (Anzeige), select the graphic list “Mixer motion“ (mischerbewegung).

As variable use “Count“ (zaehlwert) from the FB "mischerbewegung“ in DB1.

As Transparent Color select white, and place the checkmark.

Set the position and the size.

Test the mixer motion in runtime.

Note

For jerk-free motion, set the data collection cycle of the variables to 100ms.

## 8.4	Configuring Objects in the Permanent Window

The levels of the three tanks and of the container are to be displayed in the permanent window.

### 8.4.1	Configuring Text Fields

Drag a text field to the permanent window of the basic display.

As text, enter “Tank1:“.

Set the fill type to Transparent.

Set the position and the size.

Select a small font size and change the text alignment.

Copy and Insert the text field. Change the text, and position the text field in a way that another output field the size of 40 x 16 fits next to it to the right.

### 8.4.2	Configuring the Output Fields

We want to utilize a new  WinCC flexible function for the output fields.

To this end, open the window of the objects, and pin it down.

In the project window, click on Variables, and all variables are displayed in the object window.

Scroll to the variables of the tank levels (INHALT_...) (content_...).

Drag the variable “INHALT_T1“ into the permanent window; it will be inserted automatically in an EA field that is connected to the variable.

Set the properties. (General; Style; Representation; Text)

Drag the variables of the other tank levels from the object window to the permanent window, and change the properties; or copy and insert the EA_field and change the variables and the position in the properties.

Note

In the menu View, click on Anordnung wiederherstellen (restore arrangement), to reset the window arrangement to the basic setting.

Save tour project and check it for consistency.

Transfer the project to the panel only if the check has returned no errors and no warnings. Test the objects in the permanent window in runtime.  Also switch to the tank pictures.

# 9	configuring messages

The representation of the color mixing plant is by and large completed. What still needs to be done are the messages. Messages are generated if an event bit occurs (bit messages), or when a limit is overrange or underrange (analog messages).

The message texts contain a description of the cause for the message with the message status, or only notes on the current operation of the plant.

We differentiate message classes such as warnings or errors for operational messages and  fault messages. Operational messages refer to the states of a machine or a process.  Fault messages indicate alarms of a machine or a process and have to be acknowledged.

## 9.1	Analog Messages

The levels of the three tanks and of the container are to be monitored.

If a tank or the container is full, a fault message is to be read out.

In the project window, double click on analog messages.

Enter the message texts and the monitored variables.

For the tank limits, use the variable of the maximum fill setpoint.

For the container limit, enter as the constant value  2999.

Note

You can also generate several messages for one monitored variable.

You only have to set different limits with the rising or falling edge.

## 9.2	Bit Messages

Bit messages are configured just like analog messages; only here, the message is read out when an event bit is pending.

## 9.3	Message Window

The message texts are to be displayed in a message window.

The message window is configured into the template picture. This inserts it automatically in the background of all other pictures.

With a double click, open the picture "Template“ in the project window.

From the tool window under Expanded Objects, drag the  Message Window into the template picture. Set the inserted message window. Use the message window for pending and acknowledged messages.  At Message Classes, select Error and System.

At Style (Gestaltung), change the background color to white, and at Text, change the font size for the table and the heading to Tahoma; 8pt.

In the display (Anzeige) settings, set the checkmark for the buttons “Help text“ (Hilfetext) and “Acknowledge“ (Quittieren).

Select the Visible Columns (Sichtbare Spalten) of the message window.

At Mode, assign the window title, and set other properties. (Display automatically, Can be closed, Tied, Size can be changed); (Activated; Messages; Window Title)

## 9.4	Message Indicator

The message indicator is displayed if messages of the specified message class are pending or have to be acknowledged.  The message indicator can have two states:

- Blinking: At least one unacknowledged message is pending.

- Static: The messages are acknowledged, but at least one of them is not cleared.

When clicking on the message indicator, the configured action is performed.

In the template picture, set the active level to 1; that puts the message indicator in the foreground. Drag a message indicator into the template picture, and assign the function

“ZeigeMeldefenster“ (show message window) at Click and Click with blinking.

## 9.5	Testing the Message Configuration in Runtime

Open the inflow valves of the tanks, and let the tanks fill up beyond the maximum value. The message window and the message indicator appear.  Close the message window. The message indicator remains until the messages are cleared (that is, the cause is removed) and acknowledged, even if you are switching to another picture.

# 10	Configuring recipes

Recipes can be set up for the different mixing ratios of the color mixing plant. By using recipes, it is possible to transfer several variables simultaneously to the controller.  Recipes can be stored in the controller or in the panel.

## 10.1	Adding Recipes

In the project window, double click on “Add Recipe“.

As recipe name and as display name, enter “Color Mixtures“ (Farbmischungen).

Generate three recipe elements with the names “RED, GREEN, BLUE“, and connect them with the variables for the setpoint of Tank1 to Tank3.

## 10.2	Specifying Data Sets

Click on “Data sets“ and enter the data sets for the recipes “Color mixtures“.

## 10.3	Generating the Pictures “Recipe Input“ and “Recipe Selection“

Two additional pictures have to be created for new inputs od recipes and for selecting recipes. By means of recipe displays with definable buttons, new recipes can be entered, or merely a selection can be made.

### 10.3.1	Configuring the Picture “Recipe Input“

Create a new picture with the name “Recipe Input“.

From the tool window, under Expanded Objects (Erweiterte Objekte), drag a Recipe Display (Rezepturanzeige) into the picture.

Select the recipe “Color mixtures“ (Farbmischungen).

Remove the checkmark at Auswahlfeld anzeigen (Display Selection Field).

Set the background color to white and at Text, select a smaller font size.

Change the position to X0 and Y0, the size to 320 x 188.

Accept the settings for Display (Anzeige) and Buttons (Schaltflächen) .

### 10.3.2	Configuring the Picture "Recipe Selection“

Create a new picture with the name “Recipe Selection“.

From the tool window under Expanded Objects, drag a Recipe Display into the figure.

Select the recipe “Color Mixtures“ (Farbmischungen).

Remove the checkmark at Display selection field (Auswahlfeld anzeigen).

Set the background color to white, and at Text, select a smaller font size.

Change the position to X0 and Y0, the size to 320 x 188.

Remove all buttons (Schaltflächen) in the recipe display.

### 10.3.3	Configuring Buttons for Display Change

Drag the Basic Display and the picture “Recipe Input“ (Rezepteingabe) into the picture “Recipe Selection“.

Change the font size, the position and the size of the buttons.

In exactly the same way, create the button in the picture “Recipe Input“ (Rezepteingabe).

Change to the Basic Display.

Drag the picture “Recipe selection“ into the basic display.

At General (Allgemein), change Text AUS to “Recipes“.

Change the font size, the position and the size of the button.

Save your project and check it for consistency.

Transfer the project to the panel only if the check returns no errors and no warnings.

## 10.4	Selecting Recipes in Runtime

Change to the picture “Recipe Selection“ and select a data set.

After the selection, the values have been written to the variables.

### 10.5	Entering New Recipes in Runtime

Change to the picture “Recipe Input“ and click on the button “New“.

Enter the name of the data set and the values.

Click on the Save button, and select the data set in the selection picture.

# 11	configuring user management

User groups and users can be set up by means of user management. The access rights are granted to a user group. These access rights govern the access to data and functions to protect them from unauthorized operation. A user is then assigned to a user group.

## 11.1	Setting up User Groups

In the project window, double click on Gruppen (groups) in the folder Benutzerverwaltung Runtime (user management runtime). By default, two user groups are already set up: the group of administrators with all authorizations, and the group of users with authorization to operate. However, we can grant users additional authorizations.

For our color mixing plant, we need two more user groups with additional authorizations.

Create the group “Einsteller“ (setters) with the authorization “Betriebsarten umschalten“ (switch operating modes).

Create the group “Entwickler“ (developers) with the authorization “Rezepte eingeben“ (enter recipes).

## 11.2	Setting Up Users

In the project window, double click on Benutzer (users) in the folder Benutzerverwaltung Runtime (user management runtime).

Here, we are setting up three new users, and assign them to the user groups.

Create a user with the name “MEIER“ and the Kennwort (password) “HANS“.

Note

Please take note of upper and lower case writing.

Create an Einsteller (setter) with the name “SCHMIDT“ and the Kennwort (password) “KLAUS“.

Create an Entwickler (developer) with the name “HUBER“ and the password “FRANZ“.

## 11.3	Assigning Authorizations

Operating the start button and selecting the color mixture from the recipes is permitted only to users  who are authorized.

Only the setter is permitted to switch the operating mode of the plant to manual operation.

Modifying or reentering data sets for recipes is permitted only to developers. No access protection is  required for all other functions, such as display change.

### 11.3.1	Protecting the Start Button

Open the basic display and highlight the button “START“.

At Sicherheit (security), select the authorization “Bedienen“ (operate). Place the checkmark at Activated.

### 11.3.2	Protecting Data Selection

In the picture “Rezeptauswahl“ (recipe selection), highlight the Rezepturanzeige (recipe display), and change the security settings.

### 11.3.3	Protecting Recipe Input

Change the security settings of the recipe display in the picture “Rezepteingabe“ (recipe input).

### 11.3.4	Protecting the Operating Mode Selection

Also change the security settings for auto/manual switching.

Save your project and check it for consistency.

Transfer the project to the panel only when the check returns no errors and no warnings.

Confirm the overwritten recipe data and password list with “Yes“.

## 11.4	Testing User Management in Runtime

If you are actuating a protected object in runtime, a log-on window will prompt you to enter the user name and the password.

After input, you have to reactuate the object.

# Text boxes

SETPOINT_T1

5 SIMATIC S7-300

4 PC Adapter

3 Configuring Software WinCC flexible 2005 Advanced

1 PC

2 STEP7 V5.3

Automatic Program Sequence

Outflow valve Container

7  MPI or Profibus DP Data Cable

6 Touch Panel TP177B

Plant Simulation with SIMIT SCE

1 to 2 days   Modules G

Inflow valve Tank 2

Output Window

Library

Project Window

IT Communication

wirh SIMATIC S7

2 to 3 days Modules  E

Programming Languages

2 to 3 days  Modules C

Process Visualization

2 to 3 days   Modules F

Work Area

Object Window

Property Window

Tool Window

Additional Functions of

STEP7 Programming

2 to 3 days    Modules B

Symbol Bar

Industrial Fieldbus Systems

2 to 3 days   Modules D

Fundamentals of

STEP7 Programming

2 to 3 days      Modules A

Menu Bar

Container

T3 Outflow

T3 Inflow

T2 Outflow

T2 Inflow

T1 Outflow

T1 Inflow

Frequency Converter on SIMATIC S7

2 to 3 days  Modules  H

Inflow valve Tank 3

Inflow valve Tank 1

Outflow valve Tank 2

Outflow valve Tank 1

Outflow valve Tank 3

Motor for the mixer

Lamp for program start enable

Lamp for automatic mode

Manual operation for inflow valve of Tank 1

Manual-Automatic switch Auto = 1

Start program

Manual operation for inflow valve of Tank 2

Manual operation for outflow valve of Tank 1

Manual operation for outflow valve of Tank 2

Manual operation for inflow valve of Tank 3

Manual operation for outflow valve of Tank 3

Manual operation for outflow valve of container

Manual operation for mixer motor

Lamp for manual mode

Specified amount for Tank1

Specified amount for Tank2

Specified amount for Tank 3

Tank content Tank1

Tank content Tank2

Tank content Tank3

Tank content of container

Mixer time in S5 format

Idle time in S5 format

Comment

Data Type

Address

Container Level

Calculating the container level

Manual mode of the outflow valves of the tanks

Simulate mixer motion

Assign authomatic and manual lamp

46% processed, 63 steps remain ....

Linker is processing 'SIMATIC HMI Station(1)’...

Number of power tags used: 8

License required: WinCC flexible /Sm@rtService for panel

Required license WinCC flexible /Sm@rtAccess for panel

Completed successfully with 0 errors, 0 warnings

Time stamp: 12-28-295 12:50 – utilized 68320 bytes of maxi

Compiling finished!

OUTFLOW_T1

DB1.man_outflow_tank1

DB1.man_inflow_tank1

CONTENT_T1

man_inflow_tank1

man_mixermotor

mixer motion.count

man_outflow_tank2

Maximum level reached

Container full

Error

Error         CONTENT_T1	t1

At rising edge

Red tone

Green tone

Blue tone

Linker processed 'SIMATIC HMI Staton(1)’ ....

Linker is processing 'SIMATIC HMI Station(1)’...

Number of power tags used: 8

License required: WinCC flexible /Sm@rtService for panel

Required license WinCC flexible /Sm@rtAccess for panel

Completed successfully with 0 errors, 0 warnings

Time stamp: 12-28-295 12:50 – utilized 68320 bytes of maxi

Compiling finished!

Number of power tags used: 8

Linker is processing 'SIMATIC HMI Station(1)’...

Number of power tags used: 8

License required: WinCC flexible /Sm@rtService for panel

Required license WinCC flexible /Sm@rtAccess for panel

Completed successfully with 0 errors, 0 warnings

Time stamp: 12-28-295 12:50 – utilized 68320 bytes of maxi

Compiling finished!

Required license: WinCC flexible Sm@rtService for panel

Linker is processing 'SIMATIC HMI Station(1)’...

Number of power tags used: 8

License required: WinCC flexible /Sm@rtService for panel

Required license WinCC flexible /Sm@rtAccess for panel

Completed successfully with 0 errors, 0 warnings

Time stamp: 12-28-295 12:50 – utilized 68320 bytes of maxi

Compiling finished!

Required license: WinCC flexible Sm@rtAccess for panel

Linker is processing 'SIMATIC HMI Station(1)’...

Number of power tags used: 8

License required: WinCC flexible /Sm@rtService for panel

Required license WinCC flexible /Sm@rtAccess for panel

Completed successfully with 0 errors, 0 warnings

Time stamp: 12-28-295 12:50 – utilized 68320 bytes of maxi

Compiling finished!

Completed successfully: 0 error(s), 0 warning(s)

Linker is processing 'SIMATIC HMI Station(1)’...

Number of power tags used: 8

License required: WinCC flexible /Sm@rtService for panel

Required license WinCC flexible /Sm@rtAccess for panel

Completed successfully with 0 errors, 0 warnings

Time stamp: 12-28-295 12:50 – utilized 68320 bytes of maxi

Compiling finished!

Time stamp 12.28.2005 12:50 utilized 68320 bytes of maxi

Linker is processing 'SIMATIC HMI Station(1)’...

Number of power tags used: 8

License required: WinCC flexible /Sm@rtService for panel

Required license WinCC flexible /Sm@rtAccess for panel

Completed successfully with 0 errors, 0 warnings

Time stamp: 12-28-295 12:50 – utilized 68320 bytes of maxi

Compiling finished!

Compiling finished!

Linker is processing 'SIMATIC HMI Station(1)’...

Number of power tags used: 8

License required: WinCC flexible /Sm@rtService for panel

Required license WinCC flexible /Sm@rtAccess for panel

Completed successfully with 0 errors, 0 warnings

Time stamp: 12-28-295 12:50 – utilized 68320 bytes of maxi

Compiling finished!